## Control sheet
Shared Services Total Cost Model
Control Sheet | Version 2.2
Notes | Produced :14/06/2011
No inflation | This model contains three tabs
No salary increase | - Control Sheet
Model assumes HW bought y1 and includes depreciation | - Example model
- Blank Model
Definitions:
Component costs ( Measured in Thousands £'000) | Assumptions
1.0 Hosting costs: use this row to provide the cost of hosting if there is no breakdown available. | a )Capital Depreciation annual rate : The annual rate of depreciation used to write of Technology over time (usually 33.3% writing off the book value over three years)
1.1 Bandwidth: The annual cost of bandwidth. | b )Number of point releases per year: The number of minor software or system upgrades made in a year. (Normally requires at least one)
1.2 Hosting active equipment: the annual cost of active equipment to include firewalls, routers, switches, data racks and AC if appropriate. | c )Number of major releases per year: The number of major functional software or system components releases made in a year. (Normally requires at least one)
1.3 Building + maintenance + staff: The annual cost of the floor space and staff to service, provide security access control etc (Note this charge is for servicing the facility not the application) | d) VAT rate: The rate of VAT that you wish to model external costs at.
1.4 Power costs: the annual cost of power associated with hosting if separately chargeable | Application Description
2.0 Hardware: The value of the hardware used to run all platforms used to provide the service if not able to split out as below | a) Number of users (admin or internal users): The number of chargeable user licences or concurrent users if no licence user cost for internal administrators and system managers
2.1 Production platform: The value of the hardware used to run the core production system | b) number of users (consumers):The number of chargeable user licences or concurrent users if no licence user cost for public users / consumers
2.2 Test platform(s): The value of the hardware used to test and development systems | c) Number of physical servers: The number of physical servers required to run a peak utilisation
2.3 Disaster Recovery platform(s): The value of the hardware used to test and development systems | d) Number of servers: The number of virtual servers required to run a peak utilisation
2.4 Cost of backup media and consumables: the cost of media (tape, disk, DVD's ) used to take security copies of the applicatio | e)Terabytes of storage used: the number of TB of storage in the current configuration used
2.5 Licence Costs - Operating System The annual cost of Operating System licences (inc. support costs). | f) Terabytes of storage available: The total number of TB of storage in the current configuration
3.0 Licence Costs - Platform The annual cost of licence and software to support the service (e.g. SQL/Oracle database licences etc.). Should include annual support costs where applicable | g) FTE staff: The number of full time equivalent staff associated with the management, operation and configuration of this application in total. (part FTE's can be used)
4.0 Licence costs - Application: Use this row if there is no breakdown / distinction between initial and upgrade licence costs | h) Support Calls: The volume of support calls each year associated with this service to the supplier
4.1 Initial Application licensing costs: The annual cost of application licence for all platforms (production, test, development and development)
4.2 Upgrade Application licensing costs: In some instance there is a charge for moving from one major version of an application to the next. | Costs
5.0 Maintenance release costs: the cost of an average maintenance release to include the cost of upgrades, staff time testing and deployment | Fixed Costs : Those that have an annual predictable volume that cannot be reduced
6.0 Major release costs: The cost of an average major release to include the cost of upgrades, staff time, testing and deployment | Variable costs : Costs that are dependant on usage or those that can be varied at the discretion of the service management team.
7.0 Staff Costs: The annual cost of staff used to support, configure, test, audit and run the service if a breakdown is not available. | Con. Lvl: this is the confidence level you have in the data provided in the annual cost column where a value of 1 = low confidence and 5 = high confidence
7.1 Support staff/costs: The annual cost of staff attributed to providing help desk, configuration and management of the service
7.2 Database staff: The annual cost of staff attributed to providing database support and management.
7.3 Infrastructure staff: The annual cost of staff attributed to providing help desk, configuration and management of the service
7.4 Security staff: The annual cost of staff providing security support
7.5 Application staff : The annual cost of staff that managed, develop and operate the application that underpins the service
7.6 Service management Staff: The annual cost of staff that provide service management function (change management, configuration management, incident and problem management, commercial etc.)
7.7 Audit and Governance staff: The annual cost of activity that covers audit and governance
7.8 Other staff costs : Any other staff costs not covered in 7.1-7.7
8.0 System integration costs: The cost of maintaining interfaces between this application and other applications (API's XML feeds etc.)
9.0 Training costs: The annual cost of the training budget for application users associated with a particular service (NOT end user training)
10.0 VAT: the cost of VAT chargeable on VAT liable services (used to calculate those services provided externally, VAT is therefore only charged on those services purchased externally for the sake of this model.
Note on A11: : includes active equipment firewalls, networks,
Note on A36: : Consultancy Recruitment

## Example model
Shared Services Cost Model
| Model : Student record / MIS system for large FE college | [15 empty] | Dropdown list
| Assumptions |  |  | Application Description | [12 empty] | Fixed
| a )Capital Depreciation annual rate | 33.3% |  | a) Number of users (admin or internal users) | 20 |  | Space to calcualte ratios | [9 empty] | Variable
| b )Number of maintenance releases per year | 2 |  | b) number of users (consumers) | 0
| c )Number of major releases per year | 0.5 |  | c) Number of physical servers | 5
| d) VAT rate | 20% |  | d) Number of virtual servers | 0
|  |  |  | e )Terabytes of storage used | 2
|  |  |  | f) Terabytes of storage available | 4
|  |  |  | g) FTE staff | 5
|  |  |  | h) Annual support Calls | 150
[5 empty] | Cost | Current model ('000) | [14 empty] | Cost | Above Campus model ('000)
[5 empty] | type | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Total |  |  |  |  | type | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Total
| Components | Annual costs '000 | Con. Lvl | Notes (See control sheet for key) | (Fix. Var.) | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Annual costs '000 | Con. Lvl | Notes (See control sheet for key) | (Fix. Var.) | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext.
1 | Hosting costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
1.1 | Bandwidth | 50 | 4 | 100 mb/s Bought from BT | Variable |  | 50 |  | 50 |  | 50 |  | 50 |  | 50 | 0 | 250 | [14 empty] | 0 | 0
1.2 | Hosting active equipment | 20 | 4 | two racks in an internal data centre | Fixed | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 100 | 0 | [14 empty] | 0 | 0
1.3 | Building + maintance + staff |  |  | inc in 1.2 | [11 empty] | 0 | 0 | [14 empty] | 0 | 0
1.4 | Power costs |  |  | inc in 1.2 | [11 empty] | 0 | 0 | [14 empty] | 0 | 0
2 | Hardware | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
2.1 | Production platform | 8 | 4 | Two blades + storage | Fixed |  | 8 | 2.664 |  | 2.664 |  | 2.664 |  |  |  | 7.992 | 8 | [14 empty] | 0 | 0
2.2 | Test platform(s) | 4 | 4 | One Blade + storage | Fixed |  | 4 | 0 |  | 0 |  | 0 |  |  |  | 0 | 4 | [14 empty] | 0 | 0
2.3 | Disaser Recovery platform(s) | 4 | 4 | One blades + storage | Fixed |  | 4 | 0 |  | 0 |  | 0 |  |  |  | 0 | 4 | [14 empty] | 0 | 0
2.4 | Cost of backup media and consumables | 0.5 | 2 | Storage media tapes | Variable |  | 0.5 | 0.5 |  | 0.5 |  | 0.5 |  | 0.5 |  | 2 | 0.5 | [14 empty] | 0 | 0
2.5 | Licence Costs - Operating System
3 | Licence Costs - Platform | 55 | 3 | Oracle RDBMS | Fixed |  | 55 |  | 55 |  | 55 |  | 55 |  | 55 | 0 | 275 | [14 empty] | 0 | 0
4 | Licence costs - Application | 25 | 2 | Annual licence fee + maintance contract | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
4.1 | Initial Application licensing costs |  |  | inc. in 4.0
4.2 | Upgrade Application licence costs |  |  | inc. in 4.0
5 | Maintenance release costs | 7 | 3 | 20 person days @350 / day | Variable | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 70 | 0 | [14 empty] | 0 | 0
6 | Major release costs | 14 | 3 | 40 person days @ 350 /day | Variable | 2.8 |  | 2.8 |  | 2.8 |  | 2.8 |  | 2.8 |  | 14 | 0 | [14 empty] | 0 | 0
7 | Staff Costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
7.1 | Support staff/costs | 60 | 4 | 2 FTE @ full cost of 30K for support staff | Fixed | 60 |  | 60 |  | 60 |  | 60 |  | 60 |  | 300 | 0 | [14 empty] | 0 | 0
7.2 | Database staff | 45 | 4 | 1 FTE @ full cost of 45K per DBA | Fixed | 45 |  | 45 |  | 45 |  | 45 |  | 45 |  | 225 | 0 | [14 empty] | 0 | 0
7.3 | Infrastructure staff | 52.5 | 4 | 1.5 FTE @ 35K for sys admins | Fixed | 52.5 |  | 52.5 |  | 52.5 |  | 52.5 |  | 52.5 |  | 262.5 | 0 | [14 empty] | 0 | 0
7.4 | Security staff | 8 | 4 | .2 FTE @ 40K for security specilist | Fixed | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 40 | 0 | [14 empty] | 0 | 0
7.5 | Applicaton staff |  |  | Same as infrastructure staff |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | [14 empty] | 0 | 0
7.6 | Service managment Staff | 17.5 | 4 | .5 FTE @ full cost of part of SM remit @ 35K | Fixed | 17.5 |  | 17.5 |  | 17.5 |  | 17.5 |  | 17.5 |  | 87.5 | 0 | [14 empty] | 0 | 0
7.7 | Audit and Goverance staff | 6 | 4 | .1 FTE @ 60 K external auditors | Fixed |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 | 0 | 30 | [14 empty] | 0 | 0
7.8 | Other staff costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
8 | System integration costs |  |  | included within 6.0 | [11 empty] | 0 | 0 | [14 empty] | 0 | 0
9 | IT Staff training costs | 15 | 4 | 3K per FTE | Variable |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 | 0 | 75 | [14 empty] | 0 | 0
10 | VAT |  | 5 | used to calculate VAT for external totals |  |  | 28.5 |  | 25.2 |  | 25.2 |  | 25.2 |  | 25.2 | 0 | 129.3 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
11 | Totals |  |  |  |  | 219.8 | 171 | 222.964 | 151.2 | 222.964 | 151.2 | 222.964 | 151.2 | 220.3 | 151.2 | 1108.992 | 775.8 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Annual totals | [5 empty] | 390.8 |  | 374.164 |  | 374.164 |  | 374.164 |  | 371.5 |  | 1884.792 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Note on F11: moore: This will vary dependant on how mature the application is
Note on D15: moore: The confidence level annual cost data. 1 = low confidence 5 = high confidence
Note on U15: The confidence level annual cost data. 1 = low confidence 5 = high confidence
Note on B16: : includes active equipment firewalls, networks,
Note on E18: moore: basd on a comercial hosting centre 2010 costs
Note on E22: moore: inlcude depreciation in year 2,3,4 as a cost
Note on I22: moore: depreciation value of hardware
Note on K22: moore: depreciation value of hardware
Note on M22: moore: depreciation value of hardware
Note on O22: moore: written off after 3 years and not replaced
Note on E31: moore: mu7ltiply this value by C5 for number of releases each year
Note on B41: : Consultancy Recruitment
Note on B43: moore: Costs of training in the application only NOT end user training.

## Blank model
Shared Services Cost Model
| Model : Student record / MIS system for a FE college | [15 empty] | Dropdown list
| Assumptions |  |  | Application Description | [12 empty] | Fixed
| a )Capital Depreciation annual rate | 33.3% |  | a) Number of users (admin or internal users) | 20 |  | Space to calcualte ratios | [9 empty] | Variable
| b )Number of maintenance releases per year | 2 |  | b) number of users (consumers) | 0
| c )Number of major releases per year | 0.5 |  | c) Number of physical servers | 5
| d) VAT rate | 20% |  | d) Number of virtual servers | 0
|  |  |  | e )Terabytes of storage used | 2
|  |  |  | f) Terabytes of storage available | 4
|  |  |  | g) FTE staff | 5
|  |  |  | h) Annual support Calls | 150
[5 empty] | Cost | Current model ('000) | [14 empty] | Cost | Above Campus model ('000)
[5 empty] | type | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Total |  |  |  |  | type | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Total
| Components | Annual costs '000 | Con. Lvl | Notes (See control sheet for key) | (Fix. Var.) | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Annual costs '000 | Con. Lvl | Notes (See control sheet for key) | (Fix. Var.) | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext. | Int. | Ext.
1 | Hosting costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
1.1 | Bandwidth |  |  |  | Variable | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
1.2 | Hosting active equipment |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
1.3 | Building + maintance + staff | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
1.4 | Power costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
2 | Hardware | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
2.1 | Production platform |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
2.2 | Test platform(s) |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
2.3 | Disaser Recovery platform(s) |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
2.4 | Cost of backup media and consumables |  |  |  | Variable | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
2.5 | Licence Costs - Operating System
3 | Licence Costs - Platform |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
4 | Licence costs - Application |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
4.1 | Initial Application licensing costs
4.2 | Upgrade Application licence costs
5 | Maintenance release costs |  |  |  | Variable | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
6 | Major release costs |  |  |  | Variable | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7 | Staff Costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
7.1 | Support staff/costs |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.2 | Database staff |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.3 | Infrastructure staff |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.4 | Security staff |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.5 | Applicaton staff | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
7.6 | Service managment Staff |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.7 | Audit and Goverance staff |  |  |  | Fixed | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
7.8 | Other staff costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
8 | System integration costs | [14 empty] | 0 | 0 | [14 empty] | 0 | 0
9 | IT Staff training costs |  |  |  | Variable | [10 empty] | 0 | 0 | [14 empty] | 0 | 0
10 | VAT | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
11 | Totals |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Annual totals | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Note on F11: moore: This will vary dependant on how mature the application is
Note on D15: moore: The confidence level annual cost data. 1 = low confidence 5 = high confidence
Note on U15: The confidence level annual cost data. 1 = low confidence 5 = high confidence
Note on B16: : includes active equipment firewalls, networks,
Note on E18: moore: basd on a comercial hosting centre 2010 costs
Note on E22: moore: inlcude depreciation in year 2,3,4 as a cost
Note on E31: moore: mu7ltiply this value by C5 for number of releases each year
Note on B41: : Consultancy Recruitment
Note on B43: moore: Costs of training in the application only NOT end user training.